Highest Quality Disposable Dental Needles

Dr. Smile Disposable Dental Needles

METHOD FOR USE

Use with either a standard or aspirating dental syringe.  To open case, break the tamperproof seal with a “snap”.  DO NOT USE IF SEAL HAS BEEN PREVIOUSLY BROKEN.

CONVERTIBLE SYRINGE

Use the needle cap or sheath to thread the hub to a syringe, keeping the needle covered until ready to use.

Use the needle cap or sheath to remove the needle after use and discard into a suitably safe container.

GUARD AID

To re-sheath the needle, we recommend the use of the Dental Hypodermic Needles Guard-Aid needle re-sheathing device.  This will reduce the risk of cross-infection.

SELF-ASPIRATING SYRINGES

Aspirating, prior to injecting local anesthesia has long been the recommended practice, now, with the Rotor Self Aspirating syringe, it is also practical.  Simply by reducing thumb pressure on the piston, a negative pressure is created within the cartridge, which induces aspiration.

包裝:100支/盒

Insturction for use:

- twist cap to open

- connect needle on syringes

- Remove caps

需要有以下標示(需自行繪製)

中文醫療器材品名:

英文醫療器材品名:

衛部醫器陸輸壹字第      號

製造廠名稱:

地址:

藥商:

地址:

電話:

# Text boxes

上述使用說明需有圖示如下: